{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Kalibrierung"],"not_rendered":{"charts":1,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Kalibrierung","index":0,"n_rows":28,"n_cols":4,"rows_kept":28,"cut":false,"hidden":false,"merged":[[0,0,0,3],[26,0,26,4]]}
["Kalibrierung iSpindel"]
[]
[null,"gemessener Winkel (°)","gemessener °Plato","Abweichung °"]
[null,39,0,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":-0.53764335499999838}]
[null,44.4,2.8,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":0.8151625126400015}]
[null,65.150000000000006,11.5,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":-0.76642757133499906}]
[null,70.989999999999995,17,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":0.48891076675140965}]
[null,null,null,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":""}]
[null,null,null,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":""}]
[null,null,null,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":""}]
[null,null,null,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":""}]
[null,null,null,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":""}]
[null,null,null,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":""}]
[null,null,null,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":""}]
[null,null,null,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":""}]
[null,null,null,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":""}]
[null,null,null,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":""}]
[null,null,null,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":""}]
[null,null,null,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":""}]
[null,null,null,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":""}]
[null,null,null,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":""}]
[null,null,null,{"$f":" IF( Table1[[#This Row],[gemessener °Plato]] <>  \"\", Table1[[#This Row],[gemessener °Plato]] - ( 0.008699786 * Table1[[#This Row],[gemessener Winkel (°)]] * Table1[[#This Row],[gemessener Winkel (°)]]  - 0.457563239 * Table1[[#This Row],[gemessener Winkel (°)]] + 5.15023517 ),\"\")","v":""}]
[null,null,null,""]
[]
[]
[]
["Plato Formel:"]
["0.008699786*tilt^2 - 0.457563239*tilt + 5.15023517"]